## 23-01-24
TAKORADI INTERNATIONAL COMPANY
PRESSURE GAUGE CALIBRATION REPORT
Description: | 32 LP BYPASS PCV OUT PRESSURE-A PRESSURE GAUGE |  |  | Manufacturer: | HONEYWELL
Tag No.: | 32MAP52CP101A |  |  | Type: | STD94L
Range: | -1 TO 10 |  |  | S/N : | 13W26-C400000047030
Unit: | Bar
Location: | STG
CALIBRATION DATA
AS FOUND VALUES |  |  |  | AS LEFT VALUES
% | Desire | Actual | Error | Desire | Actual | Error
0% | -1 | -1 | 0 | -1 | -1 | 0
25% | 1.75 | 1.75 | 0 | 3.75 | 3.75 | 0
50% | 4.5 | 4.5 | 0 | 4.5 | 4.5 | 0
75% | 7.25 | 7.25 | 0 | 7.25 | 7.25 | 0
100% | 10 | 10 | 0 | 10 | 10 | 0
TEST EQUIPMENT
Description | FLUKE Reference Pressure Gauge
Serial No.: | 4981657
Validity Period: | 2024-08-22
REMARKS: CALIBRATED DURING STG FORCED OUTAGE. CALIBRATION PASSED
NAME |  | I&C DEPARTMENT
CALIBRATION DATE |  | 2024-01-23
NEXT CAL. DUE DATE |  | 2024-07-23