## 23-01-24
TAKORADI INTERNATIONAL COMPANY
PRESSURE SWITCH CALIBRATION REPORT
Description | GT31 HYD FILTER DIFF. PRESS SWITCH |  | Manufacturer: | C C S INC
Model No.: | 646GEA2 |  | Tag No.: | 63HF - 2
Range | 6-75 PSIG
Set point: | 60PSIG |  | Unit: | PSIG
CALIBRATION DATA
AS FOUND VALUES |  |  | AS LEFT VALUES
Set value | Set Error | Reset value | Set value | Set Error | Reset value
60 | 0 | 48 | 60 | 0 | 48
TEST EQUIPMENT
Description | Reference Pressure Gauge
Manufacturer | Ralston Instrument
Serial No: | GR000152
Validity Period | 2024-08-18
REMARKS: CALIBRATED DURING GT31 MAJOR INSPECTION. CALIBRATION PASSED
NAME |  | C&I
CALIBRATION DATE |  | 2024-01-23
NEXT CAL. DUE DATE |  | 2024-07-23