## 16-01-24
TAKORADI INTERNATIONAL COMPANY
PRESSURE GAUGE CALIBRATION REPORT
Description: |  |  |  | Manufacturer: | WIKA
Tag No.: | 2 |  |  | Type: | Bourdon tube
Range: | 0 TO 10 |  |  | S/N | 897149HR
Unit: | Bar
Location: | STG
CALIBRATION DATA
AS FOUND VALUES |  |  |  | AS LEFT VALUES
% | Desire | Actual | Error | Desire | Actual | Error
0% | 0 | 0 | 0 | 0 | 0 | 0
25% | 2.5 | 2.5 | 0 | 2.5 | 2.5 | 0
50% | 5 | 5 | 0 | 5 | 5 | 0
75% | 7.5 | 7.5 | 0 | 7.5 | 7.5 | 0
100% | 10 | 10 | 0 | 10 | 10 | 0
TEST EQUIPMENT
Description | Reference Pressure Gauge
Manufacturer | FLUKE
Serial No: | 4981657
Validity Period | 2024-08-22
REMARKS: CALIBRATED DURING STG FORCED OUTAGE. CALIBRATION PASSED.
NAME |  | I&C DEPARTMENT
CALIBRATION DATE |  | 2024-01-16
NEXT CAL. DUE DATE |  | 2024-07-16