## 21-01-2024
TAKORADI INTERNATIONAL COMPANY
TEMPERATURE GAUGE CALIBRATION REPORT
Description: |  |  |  | Manufacturer: | KOREA NAGANO
Tag No.: | 30PAB32CT501 |  |  | Type: | Bimetallic
Range: | 0 - 120 |  |  | S/N | KN035624
Unit: | °C
Location: | STG
CALIBRATION DATA
AS FOUND VALUES |  |  |  | AS LEFT VALUES
% | Desire | Actual | Error | Desire | Actual | Error
0% | 0 | 0 | 0 | 0 | 0 | 0
25% | 30 | 30 | 0 | 30 | 30 | 0
50% | 60 | 60 | 0 | 60 | 60 | 0
75% | 90 | 90 | 0 | 90 | 90 | 0
100% | 120 | 120 | 0 | 120 | 120 | 0
TEST EQUIPMENT
Description | Hand-held thermometer
Manufacturer | WIKA
Model | CTH6200
Serial No | 42505230
Recal Date | 2024-08-22
REMARKS: THE INSTRUMENT WAS CALIBRATED DURING STG FORCED OUTAGE. CALIBRATION PASSED.
NAME |  | I&C DEPARTMENT
CALIBRATION DATE |  | 2024-01-21
NEXT CAL. DUE DATE |  | 2024-07-21